## PO-WO Sheet
SO Line Item Details | Unit | Qty
BUFFER TANK. SUPPLY INSTALLATION TASTING & COMMISSIONNING 990 LTR SINGLE WALL BUFFER TANK | SET | 6
MS PROFILE PLATE 12 THK 150 X 150 | KGS | 250
MS CHANNEL 100 X 50 MAKE SAIL | KGS | 12500
12C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 265
10C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 265
6C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 265
3C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 1500
2C X 4 SQ.MM COPPER ARMOURED CABLES | MTR | 265
2C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 265
16 PAIR X 1 SQ MM CU SHIELDED ARMD CABLE MAKE POLYCAB | MTR | 240
4C X 2.5 SQ.MM CU FLEXIBLE SHIELDED CABLE | MTR | 1500
SUPPLY OF END TERMINATION OF 12C, 2.5 SQMM COPPER ARMOURED CONTROL CABLE REF.LINE ITEM NO. 20-70 | NOS | 8
10 C X 2.5 SQ.MM ARM. CU CABLE END TERMINATION | NOS | 8
6 C X 2.5 SQ.MM ARM CU CABLE END TERMINATION | NOS | 8
4C X 2.5 SQ.MM CU FLEXIBLE SHIELDED CABLE END TERMINATION | NOS | 26
3C 2.5SQMM END TERMINATION | NOS | 26
2C X 4 SQ.MM ARMOURED CU CABLE END TERMINATION | NOS | 8
2C 2.5SQMM END TERMINATION | NOS | 8
16 PAIR X 1 SQ MM SHEILDED ARMOURED MULTISTRAND (1 RUN) END TERMINATION | NOS | 8
GI EARTHING PATTI 75 X 6 HOT DIP | MTR | 1000
FIRE EXTINGUISHER CO2 4.5KG (KANEX- MAKE)) | NOS | 1
SAFETY SAFETY CHARTS ONLY ENGLISH) | NOS | 1
SAFETY 440V ENAMELED DANGER BOARD SUPPLY & INSTALLATION) | NOS | 1
SAND BUCKET WITH STAND | NOS | 1
CONCONSUM1471 (FIRST AID BOX STANDARD) | NOS | 1
EARTHING MATERIAL PROVIDING, INSTALLING, TESTING AND COMMISSIONING OF PLATE ELECTRODE EARTHING STATION AS PER IS3043 INCLUDING THE FOLLOWING ITEMS 1.400(L)X400(W)X450(D)MM, 150MM THICK BLOCK WORK INSPECTION CHAMBER WITH CI COVER/ LID. 2. 600X600X3MM COPPER PLATE, 15MM GI LINE / FUNNEL, 50MM LINE FOR WATERING , CI FRAME AND CI COVER,SALT & CHARCOAL MIXTURE,M10 BOLTS & NUTS, UNIVERSAL STAINLESS STEEL CLAMPS. SYSTEM SHALL BE IN FULL COMPLIANCE WITH IS:3043 - 2018 EARTHING STANDARDS/ NBC 2016 (LATEST) | NOS | 8
EARTHING MATERIAL PROVIDING, INSTALLING, TESTING AND COMMISSIONING OF EARTHING STATION INCLUDING THE FOLLOWING ITEMS 1.400(L)X400(W)X450(D)MM, 150MM THICK BLOCK WORK INSPECTION CHAMBER WITH CI COVER/ LID HINGED TO CI FRAME . 2. 100MM ID DIA 13MM THICK, CI PIPE, WATERING FUNNEL WITH WIRE MESH , SALT, CHARCOAL,M10 BOLTS & NUTS, UNIVERSAL STAINLESS STEEL CLAMPS, 600X600X3 MM GI PLATE. | NOS | 8
(1.5" / 40 MM MS PIPE ERW C CLASS MAKE JINDAL WITH MTC) | MTR | 325
(250 NB MS PIPE CLASS B ERW MAKE JINDAL WITH MTC) | MTR | 65
(400NB PIPE B CLASS ERW MAKE JINDAL WITH MTC) | MTR | 340
MACHINERY HIRING CHARGES | LS | 1
MACHINERY HIRING CHARGES | LS | 1
VEHICLE HIRING EXPENSE | TRIP | 1
MOBILE ALUMINIUM SCAFFOLDING. MATERIAL 150KGS, CAPACITY, PLATFORM HEIGHT 4.3 TOWER HEIGHT, 6.3 MTR, WORKING HEIGHTS 7 MTR. | LOT | 2
40 NB ELBOW.90 B/W | NOS | 40
40NB MS FLANGE SORF 150# CLASS | NOS | 48
STD STUD ANCHOR HSV M12X100 17 PACK - 30 NOS EACH PACKET | NOS | 510
REDOXIDE 20 LTR | NOS | 8
GOLDEN BROWN PAINT 20 LTR | NOS | 3
10 LTRS THINNER 10 LTRS THINNER | LTR | 10
ALIMINIUM SILVER SYNTHETIC ENAMAL PAINT 20LTRS TIN | LTR | 5
PAINT BRUSH 5" | NOS | 10
PAINT BRUSH 2" | NOS | 20
2" PAINT ROLLER | PCS | 30
2 INCH ROLLER REFILL | NOS | 10
COTTON WASTE | KGS | 10
1.5" / 40 MM MS PIPE ERW C CLASS MAKE JINDAL WITH MTC | MTR | 325
250 NB MS PIPE CLASS B ERW MAKE JINDAL WITH MTC | MTR | 65
400NB PIPE B CLASS ERW MAKE JINDAL WITH MTC | MTR | 340
SCAFFOLDING RENTAL EXPNESE-PURCHASE First month & second month DG1 Iron cuplock Scaffolding | NOS | 1
SCAFFOLDING RENTAL EXPNESE-PURCHASE First month & second month DG2 Iron cuplock Scaffolding | NOS | 1
SERVICE EXPENSE-PURCHASE Service Charges for Exhaust system, Steel and Fuel system fabrication and Installation. 1. 16" MS JINDAL PIPE ERECTION AND 50 MM THIK ALUMINIUM CLADDING ONLY, LABOUR CHARGES PER MTR - 1850 X 340 = 6,29,000, 2. 10" MS JINDAL PIPE ERECTION AND 50 MM THIK ALUMINIUM CLADDING ONLY, LABOUR CHARGES PER MTR - 1200 X 65 = 78000. 3. 1500 KvA SILENCER ERECTION AND ALUMINIUM CLADDING ONLY, LABOUR CHARGES EACH ONE - 7500 X 8 = 60,000 4. MS STEEL FABRICATION AND PIPING WITH ERECTION ONLY LABOUR CHARGES PER KGS 25 X 15000 = 3,75,000 5. 10" MS PIPE & FABRICATION ERECTION EACH ONE, 5000 X 40 NOS = 20,000. 6. FUEL PIPE FABRICATION & ERETION ONLY LABOUR CHARGES PER MTR, 200 X 325 = 65,000 7. 10" BELLOW ERECTION & FITTING EACH ONE, 1000 X 16 = 16,000, TOTAL - 12,43,000 + 18% GST EXTRA | LS | 1

## Budget
| Line Item Detail | Unit | Qty | Amount
CONTROL CABLING :
M1 | 12C x 2.5 sq.mm Armoured Cu Cable (PCC - Control Panel) Supply & Laying | Nos | 265 | 85065
M2 | End Termination Supply & Installation | Nos | 8 | 5008
M3 | 10 C x 2.5 Sq.mm Arm. Cu cable (PCC - Control Panel) Supply & Laying | Mtrs. | 265 | 166420
M4 | End Termination Supply & Laying | Mtrs. | 8 | 4624
M5 | 6 C x 2.5 Sq.mm Arm Cu cable (Alternator to Control panel) Supply & Laying | Mtrs. | 265 | 98580
M6 | End Termination Supply & Laying | Nos | 8 | 3056
M7 | 4C x 2.5 Sq.mm Cu Flexible shielded cable (PCC - PCC) Supply & Laying | Nos | 1500 | 361500
M8 | End Termination Supply & Laying | Mtrs. | 26 | 13130
M9 | 3C x 2.5 Sq.mm Arm Cu cable (PCC TO PCC) Supply & Laying | Nos | 1500 | 184500
M10 | End Termination Supply & Laying | Nos | 26 | 11102
M11 | 2C x 4 sq.mm Armoured Cu Cable (Battery Charger - DG Batteries) Supply & Laying | Nos | 265 | 30740
M12 | End Termination Supply & Laying | Nos | 8 | 2440
M13 | 2C x 2.5 Sq.mm Arm. Cu cable (Accoustic - Control Panel / Aviation light - Control Panel ) Supply & Laying | Mtrs. | 265 | 26235
M14 | End Termination Supply & Laying | Nos | 8 | 1928
M15 | Supply and installation of 10 Triad x 1 sq mm Sheilded Armoured Multistrand (1 Run) Supply & Laying | Nos | 240 | 132000
M16 | End Termination Supply & Laying |  | 8 | 3984
M17 | 2" Class 'C' MS pipe for 1500 KVA DG Set Supply, Erection, Testing & Commissioning | Mtrs. | 325 | 143000
M18 | Fuel Fittings like Bends, Valves Flages | Mtrs. | 8 | 56000
M19 | Day tank of 990 L mounted on the elevated steel structure for gravity flow of fuel to DG sets Supply & Installation | KG | 6 | 324000
M20 | 5 mm thick MS pipe Class B 10" Exhaust Pipe with 50mm thick Rock wool insulation thickness of 64 Kg/m3, 26 SWG Aluminium cladding before Residential Silencer. Supply , Erection, Testing & Commissioning | Mtrs. | 65 | 295360
M21 | 5 mm thick MS pipe Class B 16" Exhaust Pipe with Glass wool insulation thickness of 64 Kg/m3, 26 SWG Aluminium cladding after Residential Silencer. Supply , Erection, Testing & Commissioning | Mtrs. | 340 | 2025380
M22 | Supply, fabrication, commisioning and erection of steel structure & painting with two coats of primer and two coats of approved enamel paint. The arrangement of structure shall be for individual stack. Design of the stack to be approved by the Structure consultant. Supply , Erection, Testing & Commissioning | KG | 15000 | 1050000
M23 | Providing, installing, testing and commissioning of Plate electrode earthing station as per IS3043 including the following items 1.400(L)x400(W)x450(D)mm, 150mm thick block work inspection chamber with CI Cover/ Lid. 2. 600x600x3mm copper plate, 15mm GI line / funnel, 50mm line for watering , CI frame and CI cover,Salt & charcoal mixture,M10 bolts & nuts, universal stainless steel clamps. System shall be in full compliance with IS:3043 - 2018 Earthing Standards/ NBC 2016 (latest). 3. Cost to include 75x6 Cu. strips, 3meter lenght connecting clamps with copper plate, brass bolts & nuts as per standards. 4. Cost to include necessary excavation to an extent of 400(W & L), back filling around the Plate. | Mtr | 8 | 202000
M24 | Providing, installing, testing and commissioning of earthing station including the following items 1.400(L)x400(W)x450(D)mm, 150mm thick block work inspection chamber with CI Cover/ Lid hinged to CI frame . 2. 100mm ID dia 13mm thick, CI pipe, watering funnel with wire mesh , Salt, charcoal,M10 bolts & nuts, universal stainless steel clamps , . System shall be in full compliance with IS:3043-2018 Earthing Standards/ NBC 2016 (latest). 3. Cost to include necessary excavation to an extent of 400(W & L), back filling around the Rod/ Pipe. | Nos | 8 | 128000
M25 | 75 x 6 mm GI strip | Mtrs. | 1000 | 400000
M26 | 75 x 6 mm Copper strip | Set | 750 | 3112500
M27 | Fire extinguishers - CO2 type - 4.5kg Supply & Installation | Nos. | 1 | 5400
M28 | First aid box complete with all standard first aid materials Supply & Installation | Mtr | 1 | 2200
M29 | Safety Charts in English & Kannada Supply & Installation | Mtr | 1 | 900
M30 | 440V enameled Danger Board Supply & Installation | Mtr | 1 | 900
M31 | Set of two sand buckets with stand Supply & Installation | Mtr | 1 | 2320
S1 | Supply ,Erection, Testing & Commissioning | Mtr | 4 | 296400
S1 | 2500A 4P, EF, ACB o/c, s/c, e/f releases mounted on Alternator with Adopter Box suitable for cablet termination. Supply ,Erection, Testing & Commissioning | Mtr | 4 | 15600
S2 | 12C x 2.5 sq.mm Armoured Cu Cable (PCC - Control Panel) Supply & Laying | Nos. | 265 | 11368.5
S2 | End Termination Supply & Laying | Nos. | 8 | 1216.8
S2 | 10 C x 2.5 Sq.mm Arm. Cu cable (PCC - Control Panel) Supply & Laying | Nos. | 265 | 11368.5
S2 | End Termination Supply & Laying | Nos. | 8 | 1216.8
S2 | 6 C x 2.5 Sq.mm Arm Cu cable (Alternator to Control panel) Supply & Laying | Nos. | 265 | 11368.5
S2 | End Termination Supply & Laying | Nos. | 8 | 1216.8
S2 | 4C x 2.5 Sq.mm Cu Flexible shielded cable (PCC - PCC) Supply & Laying | Nos. | 1500 | 64350
S2 | End Termination Supply & Laying | Nos. | 26 | 3954.6
S2 | 3C x 2.5 Sq.mm Arm Cu cable (PCC TO PCC) Supply & Laying | Nos. | 1500 | 64350
S2 | End Termination Supply & Laying | Nos. | 26 | 3954.6
S2 | 2C x 4 sq.mm Armoured Cu Cable (Battery Charger - DG Batteries) Supply & Laying | RM | 265 | 11368.5
S2 | End Termination Supply & Laying | Nos | 8 | 1216.8
S2 | 2C x 2.5 Sq.mm Arm. Cu cable (Accoustic - Control Panel / Aviation light - Control Panel ) Supply & Laying | Nos | 265 | 11368.5
S2 | End Termination Supply & Laying | Set | 8 | 374.4
S2 | Supply and installation of 10 Triad x 1 sq mm Sheilded Armoured Multistrand (1 Run) | Nos | 240 | 10296
S2 | End Termination Supply & Laying | RM | 8 | 1216.8
S2 | 2" Class 'C' MS pipe for 1500 KVA DG Set Supply, Erection, Testing & Commissioning | Nos | 325 | 65910
S2 | Fuel Fittings like Bends, Valves Flages | Nos | 8 | 18720
S3 | Day tank of 990 L mounted on the elevated steel structure for gravity flow of fuel to DG sets .Supply & Installation | Nos | 6 | 9360
S2 | 10" Exhaust Pipe with 50mm thick Rock wool insulation thickness of 64 Kg/m3, Aluminium cladding before Residential Silencer Supply , Erection, Testing & Commissioning | RM | 65 | 100386
S2 | 16" Exhaust Pipe with Glass wool insulation thickness of 64 Kg/m3, Aluminium cladding after Residential Silencer Supply , Erection, Testing & Commissioning | Nos | 340 | 713388
S2 | Supply, fabrication, commisioning and erection of steel structure & painting with two coats of primer and two coats of approved enamel paint. The arrangement of structure shall be for individual stack. Design of the stack to be approved by the Structure consultant .Supply , Erection, Testing & Commissioning | Nos | 15000 | 315900
S4 | Providing, installing, testing and commissioning of Plate electrode earthing station as per IS3043 including the following items 1.400(L)x400(W)x450(D)mm, 150mm thick block work inspection chamber with CI Cover/ Lid. 2. 600x600x3mm copper plate, 15mm GI line / funnel, 50mm line for watering , CI frame and CI cover,Salt & charcoal mixture,M10 bolts & nuts, universal stainless steel clamps. System shall be in full compliance with IS:3043 - 2018 Earthing Standards/ NBC 2016 (latest). 3. Cost to include 75x6 Cu. strips, 3meter lenght connecting clamps with copper plate, brass bolts & nuts as per standards. 4. Cost to include necessary excavation to an extent of 400(W & L), back filling around the Plate. | RM | 8 | 81120
S4 | Providing, installing, testing and commissioning of earthing station including the following items 1.400(L)x400(W)x450(D)mm, 150mm thick block work inspection chamber with CI Cover/ Lid hinged to CI frame . 2. 100mm ID dia 13mm thick, CI pipe, watering funnel with wire mesh , Salt, charcoal,M10 bolts & nuts, universal stainless steel clamps , . System shall be in full compliance with IS:3043-2018 Earthing Standards/ NBC 2016 (latest). 3. Cost to include necessary excavation to an extent of 400(W & L), back filling around the Rod/ Pipe. | Kg | 8 | 68640
S4 | 75 x 6 mm GI strip | Nos | 1000 | 120900
S4 | 75 x 6 mm Copper strip | Nos. | 750 | 90675
S3 | First fill of Diesel | RM | 4000 | 305760
SM | Fire extinguishers - CO2 type - 4.5kg Supply & Installation |  | 1 | 156
SM | First aid box complete with all standard first aid materials Supply & Installation |  | 1 | 156
SM | Safety Charts in English & Kannada Supply & Installation |  | 1 | 156
SM | 440V enameled Danger Board Supply & Installation | Nos. | 1 | 156
SM | Set of two sand buckets with stand Supply & Installation |  | 1 | 156
SM | Professional charges towards obtaining permission for installation as well as for running of 4 nos Generator sets from Chief of KS State Pollution Control Board and any other statutory body as may be . | Nos. | 1 | 234000
OS | AS-BUILT DRAWINGS Drawing made on Autocad of the total work executed including 4 sets of blue prints and 1 set of original tracings and CDs. |  | 1 | 31200
| TOTAL |  |  | 11557217.1
S1 | DG Installation Related
S2 | Electrical System Related
S3 | Fuel System Related
S4 | Exhaust System Related
SM | Safety Material
OS | Other Services