## Sheet1
section_context_for_this_product_block | full_product_description | core_product_name | acronymed_core_product_name | size | feature_or_specifications | quantity | unit
| BUFFER TANK. SUPPLY INSTALLATION TASTING & COMMISSIONNING 990 LTR SINGLE WALL BUFFER TANK | buffer tank |  | capacity: 990 LTR, wall: single | feature: supply, installation, testing, commissioning | 6 | SET
| MS PROFILE PLATE 12 THK 150 X 150 | ms(mild steel) profile plate |  | thickness: 12, dimensions: 150 x 150 | material: mild steel | 250 | KGS
| MS CHANNEL 100 X 50 MAKE SAIL | ms(mild steel) channel |  | dimensions: 100 x 50 | material: mild steel, manufacturer: sail | 12500 | KGS
| 12C X 2.5 SQ.MM COPPER ARMOURED CABLES | copper armoured cable |  | cores: 12, size: 2.5 sq.mm | material: copper, type: armoured | 265 | MTR
| 10C X 2.5 SQ.MM COPPER ARMOURED CABLES | copper armoured cable |  | cores: 10, size: 2.5 sq.mm | material: copper, type: armoured | 265 | MTR
| 6C X 2.5 SQ.MM COPPER ARMOURED CABLES | copper armoured cable |  | cores: 6, size: 2.5 sq.mm | material: copper, type: armoured | 265 | MTR
| 3C X 2.5 SQ.MM COPPER ARMOURED CABLES | copper armoured cable |  | cores: 3, size: 2.5 sq.mm | material: copper, type: armoured | 1500 | MTR
| 2C X 4 SQ.MM COPPER ARMOURED CABLES | copper armoured cable |  | cores: 2, size: 4 sq.mm | material: copper, type: armoured | 265 | MTR
| 2C X 2.5 SQ.MM COPPER ARMOURED CABLES | copper armoured cable |  | cores: 2, size: 2.5 sq.mm | material: copper, type: armoured | 265 | MTR
| 16 PAIR X 1 SQ MM CU SHIELDED ARMD CABLE MAKE POLYCAB | cu(copper) shielded armoured cable |  | pairs: 16, size: 1 sq mm | material: copper, type: shielded, type: armoured, manufacturer: polycab | 240 | MTR
| 4C X 2.5 SQ.MM CU FLEXIBLE SHIELDED CABLE | cu(copper) flexible shielded cable |  | cores: 4, size: 2.5 sq.mm | material: copper, type: flexible, type: shielded | 1500 | MTR
| SUPPLY OF END TERMINATION OF 12C, 2.5 SQMM COPPER ARMOURED CONTROL CABLE REF.LINE ITEM NO. 20-70 | copper armoured control cable end termination |  | cores: 12, size: 2.5 sqmm | material: copper, type: armoured, type: control cable, feature: end termination, reference: line item no. 20-70 | 8 | NOS
| 10 C X 2.5 SQ.MM ARM. CU CABLE END TERMINATION | cu(copper) armoured cable end termination |  | cores: 10, size: 2.5 sq.mm | material: copper, type: armoured, feature: end termination | 8 | NOS
| 6 C X 2.5 SQ.MM ARM CU CABLE END TERMINATION | cu(copper) armoured cable end termination |  | cores: 6, size: 2.5 sq.mm | material: copper, type: armoured, feature: end termination | 8 | NOS
| 4C X 2.5 SQ.MM CU FLEXIBLE SHIELDED CABLE END TERMINATION | cu(copper) flexible shielded cable end termination |  | cores: 4, size: 2.5 sq.mm | material: copper, type: flexible, type: shielded, feature: end termination | 26 | NOS
| 3C 2.5SQMM END TERMINATION | end termination |  | cores: 3, size: 2.5 sqmm |  | 26 | NOS
| 2C X 4 SQ.MM ARMOURED CU CABLE END TERMINATION | cu(copper) armoured cable end termination |  | cores: 2, size: 4 sq.mm | material: copper, type: armoured, feature: end termination | 8 | NOS
| 2C 2.5SQMM END TERMINATION | end termination |  | cores: 2, size: 2.5 sqmm |  | 8 | NOS
| 16 PAIR X 1 SQ MM SHEILDED ARMOURED MULTISTRAND (1 RUN) END TERMINATION | shielded armoured multistrand end termination |  | pairs: 16, size: 1 sq mm, run: 1 | type: shielded, type: armoured, type: multistrand, feature: end termination | 8 | NOS
| GI EARTHING PATTI 75 X 6 HOT DIP | gi(galvanized iron) earthing patti |  | dimensions: 75 x 6 | material: galvanized iron, finish: hot dip | 1000 | MTR
| FIRE EXTINGUISHER CO2 4.5KG (KANEX- MAKE)) | fire extinguisher |  | type: co2(carbon dioxide), weight: 4.5kg | manufacturer: kanex | 1 | NOS
| SAFETY SAFETY CHARTS ONLY ENGLISH) | safety charts |  |  | language: english | 1 | NOS
| SAFETY 440V ENAMELED DANGER BOARD SUPPLY & INSTALLATION) | danger board |  | voltage: 440v | finish: enameled, feature: supply and installation | 1 | NOS
| SAND BUCKET WITH STAND | sand bucket with stand |  |  |  | 1 | NOS
| CONCONSUM1471 (FIRST AID BOX STANDARD) | first aid box |  |  | standard: standard | 1 | NOS
| EARTHING MATERIAL PROVIDING, INSTALLING, TESTING AND COMMISSIONING OF PLATE ELECTRODE EARTHING STATION AS PER IS3043 INCLUDING THE FOLLOWING ITEMS 1.400(L)X400(W)X450(D)MM, 150MM THICK BLOCK WORK INSPECTION CHAMBER WITH CI COVER/ LID. 2. 600X600X3MM COPPER PLATE, 15MM GI LINE / FUNNEL, 50MM LINE FOR WATERING , CI FRAME AND CI COVER,SALT & CHARCOAL MIXTURE,M10 BOLTS & NUTS, UNIVERSAL STAINLESS STEEL CLAMPS. SYSTEM SHALL BE IN FULL COMPLIANCE WITH IS:3043 - 2018 EARTHING STANDARDS/ NBC 2016 (LATEST) | plate electrode earthing station |  | inspection chamber: 400(L)x400(W)x450(D)mm, thickness: 150mm, copper plate: 600x600x3mm, gi(galvanized iron) line/funnel: 15mm, line for watering: 50mm | feature: providing, installing, testing, commissioning, cover/lid: cast iron, frame: cast iron, mixture: salt & charcoal, bolts & nuts: m10, clamps: universal stainless steel, standard: is(indian standard) 3043-2018, standard: nbc 2016 (latest), compliance: full | 8 | NOS
| EARTHING MATERIAL PROVIDING, INSTALLING, TESTING AND COMMISSIONING OF EARTHING STATION INCLUDING THE FOLLOWING ITEMS 1.400(L)X400(W)X450(D)MM, 150MM THICK BLOCK WORK INSPECTION CHAMBER WITH CI COVER/ LID HINGED TO CI FRAME . 2. 100MM ID DIA 13MM THICK, CI PIPE, WATERING FUNNEL WITH WIRE MESH , SALT, CHARCOAL,M10 BOLTS & NUTS, UNIVERSAL STAINLESS STEEL CLAMPS, 600X600X3 MM GI PLATE. | earthing station |  | inspection chamber: 400(L)x400(W)x450(D)mm, thickness: 150mm, ci(cast iron) pipe: 100mm id, thickness: 13mm, gi(galvanized iron) plate: 600x600x3mm | feature: providing, installing, testing, commissioning, cover/lid: cast iron, frame: cast iron, pipe: cast iron, watering funnel: with wire mesh, mixture: salt & charcoal, bolts & nuts: m10, clamps: universal stainless steel | 8 | NOS
| (1.5" / 40 MM MS PIPE ERW C CLASS MAKE JINDAL WITH MTC) | ms(mild steel) pipe |  | diameter: 1.5 inch or 40 mm | type: erw(electric resistance welded), class: c, manufacturer: jindal, certificate: mtc(manufacturer test certificate) | 325 | MTR
| (250 NB MS PIPE CLASS B ERW MAKE JINDAL WITH MTC) | ms(mild steel) pipe |  | diameter: 250 nb(nominal bore) | class: b, type: erw(electric resistance welded), manufacturer: jindal, certificate: mtc(manufacturer test certificate) | 65 | MTR
| (400NB PIPE B CLASS ERW MAKE JINDAL WITH MTC) | ms(mild steel) pipe |  | diameter: 400 nb(nominal bore) | class: b, type: erw(electric resistance welded), manufacturer: jindal, certificate: mtc(manufacturer test certificate) | 340 | MTR
| MACHINERY HIRING CHARGES | machinery hiring charges |  |  |  | 1 | LS
| MACHINERY HIRING CHARGES | machinery hiring charges |  |  |  | 1 | LS
| VEHICLE HIRING EXPENSE | vehicle hiring expense |  |  |  | 1 | TRIP
| MOBILE ALUMINIUM SCAFFOLDING. MATERIAL 150KGS, CAPACITY, PLATFORM HEIGHT 4.3 TOWER HEIGHT, 6.3 MTR, WORKING HEIGHTS 7 MTR. | mobile aluminium scaffolding |  | material capacity: 150 kgs, platform height: 4.3 mtr, tower height: 6.3 mtr, working height: 7 mtr | material: aluminium | 2 | LOT
| 40 NB ELBOW.90 B/W | elbow |  | diameter: 40 nb(nominal bore), angle: 90 degree | end-type: b/w(butt weld) | 40 | NOS
| 40NB MS FLANGE SORF 150# CLASS | ms(mild steel) flange |  | diameter: 40 nb(nominal bore) | type: sorf(slipped on raised face), class: 150# | 48 | NOS
| STD STUD ANCHOR HSV M12X100 17 PACK - 30 NOS EACH PACKET | stud anchor |  | size: m12x100 | type: std, type: hsv, packaging: 17 pack - 30 nos each packet | 510 | NOS
| REDOXIDE 20 LTR | redoxide |  | quantity: 20 ltr |  | 8 | NOS
| GOLDEN BROWN PAINT 20 LTR | golden brown paint |  | quantity: 20 ltr |  | 3 | NOS
| 10 LTRS THINNER 10 LTRS THINNER | thinner |  | quantity: 10 ltrs |  | 10 | LTR
| ALIMINIUM SILVER SYNTHETIC ENAMAL PAINT 20LTRS TIN | aluminium silver synthetic enamel paint |  | quantity: 20 ltrs | packaging: tin | 5 | LTR
| PAINT BRUSH 5" | paint brush |  | width: 5 inch |  | 10 | NOS
| PAINT BRUSH 2" | paint brush |  | width: 2 inch |  | 20 | NOS
| 2" PAINT ROLLER | paint roller |  | width: 2 inch |  | 30 | PCS
| 2 INCH ROLLER REFILL | roller refill |  | width: 2 inch |  | 10 | NOS
| COTTON WASTE | cotton waste |  |  |  | 10 | KGS
| SCAFFOLDING RENTAL EXPNESE-PURCHASE First month & second month DG1 Iron cuplock Scaffolding | scaffolding rental expense |  |  | type: iron cuplock, duration: first month & second month, code: dg1 | 1 | NOS
| SCAFFOLDING RENTAL EXPNESE-PURCHASE First month & second month DG2 Iron cuplock Scaffolding | scaffolding rental expense |  |  | type: iron cuplock, duration: first month & second month, code: dg2 | 1 | NOS
| SERVICE EXPENSE-PURCHASE Service Charges for Exhaust system, Steel and Fuel system fabrication and Installation. 1. 16" MS JINDAL PIPE ERECTION AND 50 MM THIK ALUMINIUM CLADDING ONLY, LABOUR CHARGES PER MTR - 1850 X 340 = 6,29,000, 2. 10" MS JINDAL PIPE ERECTION AND 50 MM THIK ALUMINIUM CLADDING ONLY, LABOUR CHARGES PER MTR - 1200 X 65 = 78000. 3. 1500 KvA SILENCER ERECTION AND ALUMINIUM CLADDING ONLY, LABOUR CHARGES EACH ONE - 7500 X 8 = 60,000 4. MS STEEL FABRICATION AND PIPING WITH ERECTION ONLY LABOUR CHARGES PER KGS 25 X 15000 = 3,75,000 5. 10" MS PIPE & FABRICATION ERECTION EACH ONE, 5000 X 40 NOS = 20,000. 6. FUEL PIPE FABRICATION & ERETION ONLY LABOUR CHARGES PER MTR, 200 X 325 = 65,000 7. 10" BELLOW ERECTION & FITTING EACH ONE, 1000 X 16 = 16,000, TOTAL - 12,43,000 + 18% GST EXTRA | service expense |  |  |  | 1 | LS