## Sheet1
0 | 1 | 2
SO Line Item Details | Unit | Qty
BUFFER TANK. SUPPLY INSTALLATION TASTING & COMMISSIONNING 990 LTR SINGLE WALL BUFFER TANK | SET | 6
MS PROFILE PLATE 12 THK 150 X 150 | KGS | 250
MS CHANNEL 100 X 50 MAKE SAIL | KGS | 12500
12C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 265
10C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 265
6C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 265
3C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 1500
2C X 4 SQ.MM COPPER ARMOURED CABLES | MTR | 265
2C X 2.5 SQ.MM COPPER ARMOURED CABLES | MTR | 265
16 PAIR X 1 SQ MM CU SHIELDED ARMD CABLE MAKE POLYCAB | MTR | 240
4C X 2.5 SQ.MM CU FLEXIBLE SHIELDED CABLE | MTR | 1500
SUPPLY OF END TERMINATION OF 12C, 2.5 SQMM COPPER ARMOURED CONTROL CABLE REF.LINE ITEM NO. 20-70 | NOS | 8
10 C X 2.5 SQ.MM ARM. CU CABLE END TERMINATION | NOS | 8
6 C X 2.5 SQ.MM ARM CU CABLE END TERMINATION | NOS | 8
4C X 2.5 SQ.MM CU FLEXIBLE SHIELDED CABLE END TERMINATION | NOS | 26
3C 2.5SQMM END TERMINATION | NOS | 26
2C X 4 SQ.MM ARMOURED CU CABLE END TERMINATION | NOS | 8
2C 2.5SQMM END TERMINATION | NOS | 8
16 PAIR X 1 SQ MM SHEILDED ARMOURED MULTISTRAND (1 RUN) END TERMINATION | NOS | 8
GI EARTHING PATTI 75 X 6 HOT DIP | MTR | 1000
FIRE EXTINGUISHER CO2 4.5KG (KANEX- MAKE)) | NOS | 1
SAFETY SAFETY CHARTS ONLY ENGLISH) | NOS | 1
SAFETY 440V ENAMELED DANGER BOARD SUPPLY & INSTALLATION) | NOS | 1
SAND BUCKET WITH STAND | NOS | 1
CONCONSUM1471 (FIRST AID BOX STANDARD) | NOS | 1
EARTHING MATERIAL PROVIDING, INSTALLING, TESTING AND COMMISSIONING OF PLATE ELECTRODE EARTHING STATION AS PER IS3043 INCLUDING THE FOLLOWING ITEMS 1.400(L)X400(W)X450(D)MM, 150MM THICK BLOCK WORK INSPECTION CHAMBER WITH CI COVER/ LID. 2. 600X600X3MM COPPER PLATE, 15MM GI LINE / FUNNEL, 50MM LINE FOR WATERING , CI FRAME AND CI COVER,SALT & CHARCOAL MIXTURE,M10 BOLTS & NUTS, UNIVERSAL STAINLESS STEEL CLAMPS. SYSTEM SHALL BE IN FULL COMPLIANCE WITH IS:3043 - 2018 EARTHING STANDARDS/ NBC 2016 (LATEST) | NOS | 8
EARTHING MATERIAL PROVIDING, INSTALLING, TESTING AND COMMISSIONING OF EARTHING STATION INCLUDING THE FOLLOWING ITEMS 1.400(L)X400(W)X450(D)MM, 150MM THICK BLOCK WORK INSPECTION CHAMBER WITH CI COVER/ LID HINGED TO CI FRAME . 2. 100MM ID DIA 13MM THICK, CI PIPE, WATERING FUNNEL WITH WIRE MESH , SALT, CHARCOAL,M10 BOLTS & NUTS, UNIVERSAL STAINLESS STEEL CLAMPS, 600X600X3 MM GI PLATE. | NOS | 8
(1.5" / 40 MM MS PIPE ERW C CLASS MAKE JINDAL WITH MTC) | MTR | 325
(250 NB MS PIPE CLASS B ERW MAKE JINDAL WITH MTC) | MTR | 65
(400NB PIPE B CLASS ERW MAKE JINDAL WITH MTC) | MTR | 340
MACHINERY HIRING CHARGES | LS | 1
MACHINERY HIRING CHARGES | LS | 1
VEHICLE HIRING EXPENSE | TRIP | 1
MOBILE ALUMINIUM SCAFFOLDING. MATERIAL 150KGS, CAPACITY, PLATFORM HEIGHT 4.3 TOWER HEIGHT, 6.3 MTR, WORKING HEIGHTS 7 MTR. | LOT | 2
40 NB ELBOW.90 B/W | NOS | 40
40NB MS FLANGE SORF 150# CLASS | NOS | 48
STD STUD ANCHOR HSV M12X100 17 PACK - 30 NOS EACH PACKET | NOS | 510
REDOXIDE 20 LTR | NOS | 8
GOLDEN BROWN PAINT 20 LTR | NOS | 3
10 LTRS THINNER 10 LTRS THINNER | LTR | 10
ALIMINIUM SILVER SYNTHETIC ENAMAL PAINT 20LTRS TIN | LTR | 5
PAINT BRUSH 5" | NOS | 10
PAINT BRUSH 2" | NOS | 20
2" PAINT ROLLER | PCS | 30
2 INCH ROLLER REFILL | NOS | 10
COTTON WASTE | KGS | 10
1.5" / 40 MM MS PIPE ERW C CLASS MAKE JINDAL WITH MTC | MTR | 325
250 NB MS PIPE CLASS B ERW MAKE JINDAL WITH MTC | MTR | 65
400NB PIPE B CLASS ERW MAKE JINDAL WITH MTC | MTR | 340
SCAFFOLDING RENTAL EXPNESE-PURCHASE First month & second month DG1 Iron cuplock Scaffolding | NOS | 1
SCAFFOLDING RENTAL EXPNESE-PURCHASE First month & second month DG2 Iron cuplock Scaffolding | NOS | 1
SERVICE EXPENSE-PURCHASE Service Charges for Exhaust system, Steel and Fuel system fabrication and Installation. 1. 16" MS JINDAL PIPE ERECTION AND 50 MM THIK ALUMINIUM CLADDING ONLY, LABOUR CHARGES PER MTR - 1850 X 340 = 6,29,000, 2. 10" MS JINDAL PIPE ERECTION AND 50 MM THIK ALUMINIUM CLADDING ONLY, LABOUR CHARGES PER MTR - 1200 X 65 = 78000. 3. 1500 KvA SILENCER ERECTION AND ALUMINIUM CLADDING ONLY, LABOUR CHARGES EACH ONE - 7500 X 8 = 60,000 4. MS STEEL FABRICATION AND PIPING WITH ERECTION ONLY LABOUR CHARGES PER KGS 25 X 15000 = 3,75,000 5. 10" MS PIPE & FABRICATION ERECTION EACH ONE, 5000 X 40 NOS = 20,000. 6. FUEL PIPE FABRICATION & ERETION ONLY LABOUR CHARGES PER MTR, 200 X 325 = 65,000 7. 10" BELLOW ERECTION & FITTING EACH ONE, 1000 X 16 = 16,000, TOTAL - 12,43,000 + 18% GST EXTRA | LS | 1