## Sheet1
section_context_for_this_product_block | full_product_description | core_product_name | size | feature_or_specifications | acronymed_core_product_name | quantity | unit
Y ¦ PANEL SUPPRESSION SYSTEM | FIRETRACE Direct Low Pressure (DLP) Novec 1230 4 Kgs. System, supplied complete with differential pressure valve, Novec 1230, Pressure Gauage,with panel mounting bracket. (CE Approved) | firetrace direct low pressure novec 1230 system | system capacity: 4 kgs | type: direct low pressure (DLP), extinguishing agent: novec 1230, included: differential pressure valve, pressure gauge, panel mounting bracket, certification: CE approved | dlp novec 1230 system | 32.0 | Nos
Y ¦ PANEL SUPPRESSION SYSTEM | FIRETRACE Direct Low Pressure (DLP) Novec 1230 2 Kgs. System, supplied complete with differential pressure valve, Novec 1230, Pressure Gauage,with panel mounting bracket. (CE Approved) | firetrace direct low pressure novec 1230 system | system capacity: 2 kgs | type: direct low pressure (DLP), extinguishing agent: novec 1230, included: differential pressure valve, pressure gauge, panel mounting bracket, certification: CE approved | dlp novec 1230 system | 7.0 | Nos
Y ¦ PANEL SUPPRESSION SYSTEM | FIRETRACE Direct Low Pressure (DLP) Novec 1230 1 Kgs. System, supplied complete with differential pressure valve, Novec 1230, Pressure Gauage,with panel mounting bracket. (CE Approved) | firetrace direct low pressure novec 1230 system | system capacity: 1 kgs | type: direct low pressure (DLP), extinguishing agent: novec 1230, included: differential pressure valve, pressure gauge, panel mounting bracket, certification: CE approved | dlp novec 1230 system | 3.0 | Nos
Y ¦ PANEL SUPPRESSION SYSTEM | Pressure Switch | pressure switch |  |  |  | 42.0 | Nos
Y ¦ PANEL SUPPRESSION SYSTEM | End of line Adaptor with pressure Gauge | end of line adaptor |  | included: pressure gauge |  | 42.0 | Nos
Y ¦ PANEL SUPPRESSION SYSTEM | Firetrace 4/6 Linear Pneumatic Heat detection tube kit, (Standard) | firetrace linear pneumatic heat detection tube kit |  | type: 4/6 linear, standard: standard |  | 610.0 | Mtr
Y ¦ PANEL SUPPRESSION SYSTEM | 6mm End Plug | end plug | size: 6mm |  |  | 84.0 | Nos
Y ¦ PANEL SUPPRESSION SYSTEM | 6mm Equal TEE | equal tee | size: 6mm |  |  | 84.0 | Nos
Y ¦ PANEL SUPPRESSION SYSTEM | Master Control Unit | master control unit |  |  |  | 42.0 | Nos
Y ¦ PANEL SUPPRESSION SYSTEM | Supply, erection, testing & commissioning of analogue addressable Monitor module | analogue addressable monitor module |  | feature: supply, erection, testing & commissioning |  | 42.0 | Nos
Y ¦ PANEL SUPPRESSION SYSTEM | Providing & fixing ARMOURED CABLING complete with lugs, laying and termination of both ends. | armoured cabling |  | included: lugs, laying and termination of both ends
Y ¦ PANEL SUPPRESSION SYSTEM | 2C x 1.5 mm2 Armoured ( Loop cable) | armoured cable | configuration: 2C x 1.5 mm2 | type: loop cable |  | 3200.0 | Mtr