## Sheet1
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
Y | PANEL SUPPRESSION SYSTEM
1 | FIRETRACE Direct Low Pressure (DLP) Novec 1230 4 Kgs. System, supplied complete with differential pressure valve, Novec 1230, Pressure Gauage,with panel mounting bracket. (CE Approved) | Nos | 32
2 | FIRETRACE Direct Low Pressure (DLP) Novec 1230 2 Kgs. System, supplied complete with differential pressure valve, Novec 1230, Pressure Gauage,with panel mounting bracket. (CE Approved) | Nos | 7
3 | FIRETRACE Direct Low Pressure (DLP) Novec 1230 1 Kgs. System, supplied complete with differential pressure valve, Novec 1230, Pressure Gauage,with panel mounting bracket. (CE Approved) | Nos | 3
4 | Pressure Switch | Nos | 42
5 | End of line Adaptor with pressure Gauge | Nos | 42
6 | Firetrace 4/6 Linear Pneumatic Heat detection tube kit, (Standard) | Mtr | 610
7 | 6mm End Plug | Nos | 84
8 | 6mm Equal TEE | Nos | 84
9 | Master Control Unit | Nos | 42
10 | Supply, erection, testing & commissioning of analogue addressable Monitor module | Nos | 42
11 | Providing & fixing ARMOURED CABLING complete with lugs, laying and termination of both ends.
a | 2C x 1.5 mm2 Armoured ( Loop cable) | Mtr | 3200
12 | Providing & fixing of modular type clean agent extinguisher.
a | 10 KG Extinguisher | Nos | 6
b | 5 KG Extinguisher | Nos | 4
TOTAL